## Capacity details
caseName | (Multiple Items)
ViewName: Unit Capacities - full (Aggregate)
Sum of Heat cap (MW) | Column Labels
| Estonia |  |  |  |  | Latvia |  |  |  |  | Lithuania
Row Labels | 2015 | 2020 | 2030 | 2040 | 2050 | 2015 | 2020 | 2030 | 2040 | 2050 | 2015 | 2020 | 2030 | 2040 | 2050
BIOGAS
Exogenous
BACKPRESSURE | [5 empty] | 117.6471 | 121.5686 | 107.8431 | 107.8431 | 107.8431
EXTRACTION | 4.3373 | 4.3373 | 4.3373 | 2.6506 | [6 empty] | 1.5 | 1.5 | 1.5
CHEM_PROCESS
Exogenous
BACKPRESSURE | [10 empty] | 50 | 50 | 50 | 50 | 50
COAL
Exogenous
HEATONLY_BOILERS | [5 empty] | 47.5 | 47.5 | 47.5 | 47.5 | 47.5
ELECTRIC
Endogenous
HEAT_PUMPS |  |  | 43.7232 | 92.9905 | 387.3719 |  |  | 17.3732 | 68.8696 | 267.3088 |  |  | 509.7238 | 509.7238 | 515.2189
FUELOIL
Exogenous
EXTRACTION | [10 empty] | 433.9995 | 433.9995 | 0
HEATONLY_BOILERS | 1406.06 | 981.08 | 607.69 | 234.65 |  | 280.3 | 16.3 | 16.3 | 16.3 | 16.3
HEAT
Endogenous
HEAT_STORAGE |  | 303.4421 | 424.3771 | 433.2625 | 499.4326 |  | 225.2441 | 341.3672 | 377.5999 | 423.0806 |  | 523.4692 | 815.6832 | 942.1367 | 942.1367
MUNI_WASTE
Endogenous
HEATONLY_BOILERS |  | 61.8224 | 68.4969 | 89.3667 | 89.3667 |  | 28.3133 | 58.6983 | 62.1512 | 62.4965 |  |  |  |  | 120.4898
Exogenous
BACKPRESSURE | 34 | 34 | 34 | [8 empty] | 294.9982 | 226.998 | 226.998
NAT_GAS
Endogenous
HEATONLY_BOILERS |  | 211.1354 | 211.1354 | 215.3578 | 232.8847 | [8 empty] | 116.7625 | 172.2315
Exogenous
BACKPRESSURE | [5 empty] | 434.531 | 428.8251 | 7.1806e-06 | 7.1806e-06 | 7.1806e-06 | 156.5758 | 156.5758 | 6.3578e-07
CONDENSING | [10 empty] | 0 | 0 | 0 | 0
EXTRACTION | 128.6067 | 127.2584 | 33.2584 | 2.0225 | 4.4944 | 543.8271 | 543.8271 | 0 |  |  | 1113.0003 | 1113.0003 | 0
HEATONLY_BOILERS | 4620 | 3914.11 | 2428.09 | 942.07 |  | 3318.4 | 2831.4 | 2599.4 | 2126 | 2145.72 | 4412.33 | 3729.68 | 1544.84 | 181.5
PEAT
Exogenous
HEATONLY_BOILERS | [5 empty] | 88
PUMPED_HYDRO
Exogenous
EL_STORAGE | [10 empty] | 0 | 0 | 0 | 0 | 0
Retort_gas
Endogenous
CONDENSING |  | 0 | 0 | 0 | 0
Exogenous
CONDENSING | 0 | 0 | 0 | 0 | 0
EXTRACTION | 76.6129 | 76.6129 | 76.6129 | 76.6129 | 76.6129
SHALE
Exogenous
CONDENSING | 0 | 0 | 0 | 0 | 0
EXTRACTION | 182.8571 | 182.8571 | 126.1908 | 126.1908
HEATONLY_BOILERS | 50 | 50 | 50 | 50
STRAW
Endogenous
HEATONLY_BOILERS |  |  | 4.8271 | 117.0356 | 112.2085 | [7 empty] | 14.1796 | 81.1828 | 67.0031
SUN
Endogenous
SOLAR_VOLT |  |  |  | 0 | 0 |  |  |  | 0 | 0 |  |  |  | 0 | 0
Exogenous
SOLAR_VOLT | [10 empty] | 0 | 0 | 0 | 0 | 0
WATER
Exogenous
HYDRO_RESERVOIR | [5 empty] | 0 | 0 | 0 | 0 | 0
HYDRO_RUNOFRIVER | 0 | 0 | 0 | [7 empty] | 0 | 0 | 0 | 0 | 0
WIND_ONSHORE
Endogenous
WIND_POWER |  |  | 0 | 0 | 0 |  |  |  | 0 | 0 |  |  |  | 0 | 0
Exogenous
WIND_POWER | 0 | 0 | 0 |  |  | 0 | 0 | 0 |  |  | 0 | 0 | 0
WOOD
Endogenous
BACKPRESSURE | [13 empty] | 142.0523 | 159.8381
Exogenous
BACKPRESSURE | 200.0001 | 348.0002 | 265.99 | 129.7818 | 88.0001 | 129.4118 | 105.8824 | 105.8824 | 105.8824 | 105.8824 | 271.9515 | 271.9515 | 248.1304 | 165.6304
EXTRACTION | [10 empty] | 25 | 25
HEATONLY_BOILERS | 1250 | 1250 | 1250 | 1250 | 1250 | 1839.26 | 1848.12 | 1848.12 | 1848.12 | 1848.12 | 1272.9 | 1234.94 | 152 | 4
WOOD_PELLETS
Endogenous
HEATONLY_BOILERS |  |  |  | 20.2131 | 20.2131 | [8 empty] | 82.0633 | 210.8055
WOOD_WASTE
Exogenous
BACKPRESSURE | 100 | 126.3158 | 90.6341 | 84.0322

## RES-E
Electricity generation
|  |  | Nat. gas | Shale | Retort gas | Fuel oil | Chem. Process | Wood | Wood waste | Straw | MSW | Biogas | Hydro | Onshore wind | Solar | Pumped hydro | Grand Total | RE share (prod) | Demand (classic) | RE share (dem) | El cons. For heat
Lithuania | 2020 | 4DS | 0.44312 |  |  | 0.0022695 | 0.30455 | 0.36703 |  |  | 0.19796 | 0.2917 | 0.61344 | 1.0658 | 0.0724 | -0.12347 | 3.3583 | 72.58% | 11.1955 | 22.33%
|  | BPO | 0.43971 |  |  | 0.0022581 | 0.30455 | 0.36657 |  |  | 0.19799 | 0.29195 | 0.61344 | 1.0658 | 0.0724 | -0.12348 | 3.3547 | 72.65% | 11.1957 | 22.32%
|  | 2DS | 0.43823 |  |  | 0.002253 | 0.30455 | 0.36636 |  |  | 0.198 | 0.29206 | 0.61344 | 1.0658 | 0.0724 | -0.12349 | 3.3531 | 72.68% | 11.1971 | 22.32%
| 2025 | 4DS | 0.32385 |  |  |  | 0.30455 | 0.36163 |  |  | 0.22089 | 0.31426 | 0.61344 | 1.0323 | 0.0724 | -0.49201 | 3.2433 | 67.58% | 11.2754 | 21.45%
|  | BPO | 0.33558 |  |  |  | 0.30455 | 0.36259 |  |  | 0.22089 | 0.31385 | 0.61344 | 1.0323 | 0.0724 | -0.48972 | 3.2556 | 67.41% | 11.3028 | 21.41%
|  | 2DS | 0.93297 |  |  |  | 0.30455 | 0.36218 |  |  | 0.22089 | 0.31978 | 0.61344 | 1.0323 | 0.0724 | -0.4303 | 3.8585 | 59% | 11.3142 | 21.55%
| 2030 | 4DS |  |  |  |  | 0.30455 | 0.25376 |  |  | 0.24031 | 0.24084 | 0.61344 | 0.49416 | 0.0724 | -0.55507 | 2.2195 | 65.47% | 11.3552 | 13.49% | 1.5501
|  | BPO |  |  |  |  | 0.30455 | 0.38584 |  |  | 0.24031 | 0.2997 | 0.61344 | 3.2559 | 1.353 | -0.55732 | 6.4527 | 86.3% | 11.4099 | 48.44% | 0.52217
|  | 2DS | 0.0061074 |  |  |  | 0.30455 | 1.844 |  |  | 0.24031 | 0.25578 | 0.61344 | 3.2559 | 0.0724 | -0.57433 | 6.5924 | 86.28% | 11.4313 | 51.5%
| 2040 | 4DS |  |  |  |  | 0.3007 | 0.64445 |  |  | 0.26054 |  | 0.61344 | 2.7335 | 0.37186 | -0.66557 | 4.9245 | 80.8% | 13.5302 | 29.4% | 1.1668
|  | BPO |  |  |  |  | 0.30455 | 0.5448 |  |  | 0.26054 |  | 0.61136 | 2.6837 | 3.3092 | -0.65936 | 7.7142 | 87.21% | 13.5352 | 50.23% | 0.34403
|  | 2DS | 0.01137 |  |  |  | 0.30455 | 1.9036 |  |  | 0.26054 |  | 0.61344 | 8.0339 | 1.2513 | -0.66676 | 12.3787 | 91.65% | 13.844 | 82.04% | 0.062338
| 2050 | 4DS |  |  |  |  | 0.2676 | 0.47817 |  |  |  |  | 0.61136 | 7.533 | 0.36857 | -0.59415 | 9.2587 | 91.25% | 15.2674 | 53.49% | 0.94738
|  | BPO |  |  |  |  | 0.24832 | 0.45837 |  |  |  |  | 0.60068 | 6.9327 | 3.2337 | -0.63276 | 11.4737 | 92.72% | 15.4274 | 65.87% | 0.98096
|  | 2DS | 0.0010334 |  |  |  | 0.29633 | 2.5052 |  |  | 0.14972 |  | 0.61344 | 13.8225 | 1.2513 | -0.76636 | 18.6395 | 94.2% | 15.8407 | 105.7% | 0.68621
Latvia | 2020 | 4DS | 2.7624 |  |  |  |  | 0.418 |  |  |  | 0.35504 | 3.1137 | 0.1012 |  |  | 6.7504 | 59.08% | 6.4011 | 62.3%
|  | BPO | 2.7601 |  |  |  |  | 0.418 |  |  |  | 0.35504 | 3.1137 | 0.1012 |  |  | 6.7481 | 59.1% | 6.397 | 62.34%
|  | 2DS | 2.7614 |  |  |  |  | 0.418 |  |  |  | 0.35504 | 3.1137 | 0.1012 |  |  | 6.7494 | 59.09% | 6.4028 | 62.28%
| 2025 | 4DS | 1.7494 |  |  |  |  | 0.42005 |  |  |  | 0.35504 | 3.1137 | 0.099517 |  |  | 5.7378 | 69.51% | 6.8683 | 58.07%
|  | BPO | 1.7298 |  |  |  |  | 0.41892 |  |  |  | 0.35504 | 3.1137 | 0.099517 |  |  | 5.717 | 69.74% | 6.9271 | 57.52% | 0.004661
|  | 2DS | 2.5736 |  |  |  |  | 0.41399 |  |  |  | 0.35504 | 3.1137 | 0.099517 |  |  | 6.5559 | 60.74% | 6.9408 | 57.38%
| 2030 | 4DS | [5 empty] | 0.39209 |  |  |  | 0.35504 | 3.1137 | 0.057349 |  |  | 3.9182 | 100% | 7.3355 | 53.35% | 0.0085308
|  | BPO | [5 empty] | 0.31999 |  |  |  | 0.35504 | 3.1137 | 0.057349 |  |  | 3.8461 | 100% | 7.4571 | 51.16% | 0.060803
|  | 2DS | 0.68967 |  |  |  |  | 0.29793 |  |  |  | 0.35504 | 3.1137 | 0.057349 |  |  | 4.5137 | 84.72% | 7.4787 | 50.75% | 0.057013
| 2040 | 4DS | [5 empty] | 0.29174 |  |  |  | 0.35504 | 3.1137 | 0.79791 | 1.6194 |  | 6.1778 | 100% | 9.3757 | 65.39% | 0.071629
|  | BPO | [5 empty] | 0.29057 |  |  |  | 0.35504 | 3.1137 | 0.61764 | 1.4918 |  | 5.8688 | 100% | 9.5157 | 61.22% | 0.069991
|  | 2DS | [5 empty] | 0.30335 |  |  | 0.0061111 | 0.35504 | 3.1137 | 2.1114 | 1.8584 |  | 7.748 | 99.97% | 9.6516 | 79.6% | 0.078419
| 2050 | 4DS | [5 empty] | 0.23375 |  |  |  | 0.35504 | 3.1137 | 1.5917 | 1.609 |  | 6.9032 | 100% | 10.2206 | 65.29% | 0.35228
|  | BPO | [5 empty] | 0.25359 |  |  |  | 0.35504 | 3.1137 | 1.8063 | 1.4768 |  | 7.0055 | 100% | 11.0272 | 61.04% | 0.45021
|  | 2DS | [5 empty] | 0.61337 |  |  | 0.0067222 | 0.35504 | 3.1137 | 1.9384 | 1.9807 |  | 8.008 | 99.97% | 10.9485 | 70.28% | 0.44271
Estonia | 2020 | 4DS | 0.01982 | 7.4317 | 1.4171 |  |  | 0.64897 | 0.12693 |  | 0.13993 | 0.020555 | 0.03 | 0.77955 |  |  | 10.6146 | 15.91% | 8.3478 | 20.23%
|  | BPO | 0.019696 | 7.4389 | 1.4171 |  |  | 0.64806 | 0.12676 |  | 0.13993 | 0.020574 | 0.03 | 0.77955 |  |  | 10.6206 | 15.89% | 8.3826 | 20.13%
|  | 2DS | 0.019633 | 7.4428 | 1.4171 |  |  | 0.64761 | 0.12666 |  | 0.13993 | 0.020584 | 0.03 | 0.77955 |  |  | 10.6239 | 15.88% | 8.3996 | 20.08%
| 2025 | 4DS | 0.041869 | 2.5954 | 1.528 |  |  | 0.62366 | 0.12659 |  | 0.13993 | 0.020863 | 0.03 | 0.73699 |  |  | 5.8433 | 27.74% | 8.4519 | 19.18%
|  | BPO | 0.034672 | 2.5327 | 1.5286 |  |  | 0.63492 | 0.13094 |  | 0.13993 | 0.021089 | 0.03 | 2.3795 |  |  | 7.4324 | 44.12% | 8.4839 | 38.65%
|  | 2DS | 0.060947 | 2.0284 | 1.5402 |  |  | 0.62415 | 0.1265 |  | 0.13993 | 0.021121 | 0.03 | 2.3371 |  |  | 6.9082 | 46.63% | 8.5101 | 37.85%
| 2030 | 4DS | 0.019923 | 2.1349 | 1.6455 |  |  | 0.5795 | 0.12612 |  | 0.13993 | 0.020806 | 0.03 | 2.8401 |  |  | 7.5368 | 48.81% | 8.556 | 42.5% | 0.10044
|  | BPO | 0.012797 | 2.0616 | 1.6446 |  |  | 0.58451 | 0.13153 |  | 0.13993 | 0.020252 | 0.03 | 3.6543 |  |  | 8.2795 | 54.39% | 8.5853 | 52.01% | 0.072342
|  | 2DS | 0.035834 | 0.28923 | 1.6431 |  |  | 0.56819 | 0.12501 |  | 0.13993 | 0.018593 | 0.03 | 3.6358 |  |  | 6.4857 | 68.77% | 8.6206 | 51.4% | 0.05753
| 2040 | 4DS | 0.001122 | 1.6097 | 1.6606 |  |  | 0.2878 | 0.12008 |  |  | 0.012438 |  | 2.9469 | 1.2499 |  | 7.8884 | 58.53% | 9.4792 | 47.94% | 0.15192
|  | BPO | 0.001122 | 1.6052 | 1.6606 |  |  | 0.30597 | 0.12545 |  |  | 0.012181 |  | 3.1225 | 1.4941 |  | 8.3271 | 60.77% | 9.4454 | 52.81% | 0.13548
|  | 2DS | 0.018548 | 0.064553 | 1.6596 |  |  | 0.86259 | 0.11802 |  | 0.036155 | 0.012871 |  | 4.3198 | 1.8712 |  | 8.9633 | 80.39% | 9.6276 | 74.24% | 0.078864
| 2050 | 4DS | 0.002031 | 0.80715 | 1.6167 |  |  | 0.13025 | [5 empty] | 2.5568 | 1.8976 |  | 7.0105 | 65.4% | 9.9988 | 43.09% | 0.64162
|  | BPO | 0.0018658 | 0.80914 | 1.6208 |  |  | 0.15299 | [5 empty] | 3.4745 | 2.109 |  | 8.1684 | 70.23% | 10.0774 | 52.41% | 0.86755
|  | 2DS | 0.011335 |  | 1.6482 |  |  | 0.99903 |  | 0.031514 | 0.023866 |  |  | 5.7323 | 1.8712 |  | 10.3174 | 83.82% | 10.3474 | 80.17% | 0.43952
Baltic countries | 2020 | 4DS | 3.2253 | 7.4317 | 1.4171 | 0.0022695 | 0.30455 | 1.434 | 0.12693 | 0 | 0.33789 | 0.6673 | 3.7572 | 1.9465 | 0.0724 | -0.12347 | 20.7232 | 39.35% | 25.9445 | 31.47% | 0
|  | BPO | 3.2196 | 7.4389 | 1.4171 | 0.0022581 | 0.30455 | 1.4326 | 0.12676 | 0 | 0.33791 | 0.66756 | 3.7572 | 1.9465 | 0.0724 | -0.12348 | 20.7233 | 39.35% | 25.9753 | 31.43% | 0
|  | 2DS | 3.2193 | 7.4428 | 1.4171 | 0.002253 | 0.30455 | 1.432 | 0.12666 | 0 | 0.33792 | 0.66769 | 3.7572 | 1.9465 | 0.0724 | -0.12349 | 20.7264 | 39.34% | 25.9995 | 31.4% | 0
| 2025 | 4DS | 2.1152 | 2.5954 | 1.528 | 0 | 0.30455 | 1.4053 | 0.12659 | 0 | 0.36082 | 0.69017 | 3.7572 | 1.8688 | 0.0724 | -0.49201 | 14.8244 | 53.1% | 26.5956 | 30.03% | 0
|  | BPO | 2.1001 | 2.5327 | 1.5286 | 0 | 0.30455 | 1.4164 | 0.13094 | 0 | 0.36082 | 0.68998 | 3.7572 | 3.5113 | 0.0724 | -0.48972 | 16.405 | 57.95% | 26.7138 | 35.99% | 0.004661
|  | 2DS | 3.5675 | 2.0284 | 1.5402 | 0 | 0.30455 | 1.4003 | 0.1265 | 0 | 0.36082 | 0.69594 | 3.7572 | 3.4689 | 0.0724 | -0.4303 | 17.3226 | 54.83% | 26.7651 | 35.79% | 0
| 2030 | 4DS | 0.019923 | 2.1349 | 1.6455 | 0 | 0.30455 | 1.2254 | 0.12612 | 0 | 0.38024 | 0.61669 | 3.7572 | 3.3916 | 0.0724 | -0.55507 | 13.6744 | 66.16% | 27.2468 | 31.95% | 1.659
|  | BPO | 0.012797 | 2.0616 | 1.6446 | 0 | 0.30455 | 1.2903 | 0.13153 | 0 | 0.38024 | 0.675 | 3.7572 | 6.9675 | 1.353 | -0.55732 | 18.5783 | 75.25% | 27.4523 | 50.23% | 0.65532
|  | 2DS | 0.73161 | 0.28923 | 1.6431 | 0 | 0.30455 | 2.7101 | 0.12501 | 0 | 0.38024 | 0.62941 | 3.7572 | 6.949 | 0.0724 | -0.57433 | 17.5919 | 79.64% | 27.5306 | 51.27% | 0.11454
| 2040 | 4DS | 0.001122 | 1.6097 | 1.6606 | 0 | 0.3007 | 1.224 | 0.12008 | 0 | 0.26054 | 0.36748 | 3.7272 | 6.4783 | 3.2411 | -0.66557 | 18.9908 | 77.9% | 32.385 | 44.46% | 1.3903
|  | BPO | 0.001122 | 1.6052 | 1.6606 | 0 | 0.30455 | 1.1413 | 0.12545 | 0 | 0.26054 | 0.36722 | 3.7251 | 6.4238 | 6.2951 | -0.65936 | 21.91 | 80.78% | 32.4963 | 54.09% | 0.5495
|  | 2DS | 0.029918 | 0.064553 | 1.6596 | 0 | 0.30455 | 3.0695 | 0.11802 | 0 | 0.30281 | 0.36791 | 3.7272 | 14.4651 | 4.9809 | -0.66676 | 29.0901 | 90.42% | 33.1231 | 79.12% | 0.21962
| 2050 | 4DS | 0.002031 | 0.80715 | 1.6167 | 0 | 0.2676 | 0.84217 | 0 | 0 | 0 | 0.35504 | 3.7251 | 11.6815 | 3.8751 | -0.59415 | 23.1724 | 86.17% | 35.4869 | 53.86% | 1.9413
|  | BPO | 0.0018658 | 0.80914 | 1.6208 | 0 | 0.24832 | 0.86495 | 0 | 0 | 0 | 0.35504 | 3.7144 | 12.2136 | 6.8195 | -0.63276 | 26.6476 | 87.86% | 36.5319 | 60.73% | 2.2987
|  | 2DS | 0.012369 | 0 | 1.6482 | 0 | 0.29633 | 4.1176 | 0 | 0.031514 | 0.1803 | 0.35504 | 3.7272 | 21.4932 | 5.1032 | -0.76636 | 36.9649 | 92.59% | 37.1366 | 88.51% | 1.5684

## RES-H
Heat generation
|  |  | Coal | Nat. gas | Retort gas | Shale | Chem. process | Fuel oil | Wood | Wood pellets | Wood waste | Straw | Biogas | MSW | Electric | Heat storage | Grand Total | RES-H (prod) | Demand | RES-H (demand) | El cons. For Heat | RE-share electricity
Lithuania | 2020 | 4DS |  | 0.50533 |  |  | 0.41155 | 0.0080288 | 6.2736 |  |  |  | 0.011263 | 0.49936 |  | -0.020305 | 7.7091 | 85.12% | 7.6888 | 85.35% |  | 22.33%
|  | BPO |  | 0.49744 |  |  | 0.41155 | 0.0079886 | 6.2435 |  |  |  | 0.011272 | 0.49935 |  | -0.019894 | 7.6711 | 85.16% | 7.6512 | 85.38% |  | 22.32%
|  | 2DS |  | 0.49401 |  |  | 0.41155 | 0.0079705 | 6.23 |  |  |  | 0.011277 | 0.49934 |  | -0.019713 | 7.6541 | 85.17% | 7.6344 | 85.39% |  | 22.32%
| 2025 | 4DS |  | 0.55281 |  |  | 0.41155 |  | 5.9796 |  |  |  | 0.012134 | 0.54502 |  | -0.031868 | 7.5011 | 83.81% | 7.4692 | 84.16% |  | 21.45%
|  | BPO |  | 0.47242 |  |  | 0.41155 |  | 5.9887 |  |  |  | 0.012118 | 0.54502 |  | -0.031774 | 7.4298 | 84.73% | 7.398 | 85.09% |  | 21.41%
|  | 2DS |  | 0.402 |  |  | 0.41155 |  | 5.8863 |  |  |  | 0.012347 | 0.54502 |  | -0.032464 | 7.2572 | 85.33% | 7.2248 | 85.71% |  | 21.55%
| 2030 | 4DS |  | 0.93784 |  |  | 0.41155 |  | 1.8085 |  |  | 0.075076 | 0.0092988 | 0.59294 | 3.463 | -0.048524 | 7.2982 | 56.56% | 7.2497 | 59.81% | 1.5501 | 13.49%
|  | BPO |  | 0.58032 |  |  | 0.41155 |  | 2.0205 |  |  | 2.3998 | 0.011572 | 0.59294 | 1.1683 | -0.040225 | 7.185 | 75.12% | 7.1448 | 79.06% | 0.52217 | 48.44%
|  | 2DS |  | 0.55686 |  |  | 0.41155 |  | 4.4371 |  |  | 0.84901 | 0.0089245 | 0.59294 |  | -0.041262 | 6.8564 | 81.84% | 6.8151 | 82.33% |  | 51.5%
| 2040 | 4DS |  | 0.2294 |  |  | 0.40635 |  | 1.5386 | 0.25649 |  | 0.41374 |  | 0.64285 | 2.585 | -0.062503 | 6.0724 | 65.3% | 6.0099 | 71.63% | 1.1668 | 29.4%
|  | BPO |  | 0.17331 |  |  | 0.41155 |  | 1.3742 | 0.26986 |  | 2.3572 |  | 0.64285 | 0.78774 | -0.044885 | 6.0168 | 79.59% | 5.9719 | 83.05% | 0.34403 | 50.23%
|  | 2DS |  | 0.13994 |  |  | 0.41155 |  | 3.5279 | 0.1982 |  | 0.99374 |  | 0.64285 | 0.061714 | -0.063736 | 5.9758 | 84.42% | 5.9121 | 86.17% | 0.062338 | 82.04%
| 2050 | 4DS |  | 0.10288 |  |  | 0.36162 |  | 0.78388 | 0.5289 |  | 0.26006 |  | 0.94461 | 2.6204 | -0.066292 | 5.6024 | 67.09% | 5.5361 | 76.93% | 0.94738 | 53.49%
|  | BPO |  | 0.10143 |  |  | 0.33557 |  | 0.75143 | 0.58569 |  | 0.1395 |  | 0.94461 | 2.7171 | -0.067828 | 5.5753 | 66.81% | 5.5075 | 79.21% | 0.98096 | 65.87%
|  | 2DS |  | 0.08285 |  |  | 0.40045 |  | 3.476 | 0.19079 |  | 0.18914 |  | 0.74463 | 0.77294 | -0.072567 | 5.8568 | 73.9% | 5.7842 | 87.2% | 0.68621 | 105.7%
Latvia | 2020 | 4DS | 0.3077 | 1.8228 |  |  |  |  | 2.9771 |  |  |  | 0.69616 | 0.22322 |  | -0.014455 | 6.027 | 62.98% | 6.0125 | 63.13% |  | 62.3%
|  | BPO | 0.30749 | 1.8218 |  |  |  |  | 2.9477 |  |  |  | 0.69616 | 0.22322 |  | -0.014682 | 5.9963 | 62.81% | 5.9817 | 62.96% |  | 62.34%
|  | 2DS | 0.30749 | 1.823 |  |  |  |  | 2.9466 |  |  |  | 0.69616 | 0.22322 |  | -0.014724 | 5.9964 | 62.79% | 5.9817 | 62.94% |  | 62.28%
| 2025 | 4DS | 0.33865 | 1.1434 |  |  |  |  | 3.4391 |  |  |  | 0.69616 | 0.343 |  | -0.011665 | 5.9603 | 72.63% | 5.9487 | 72.77% |  | 58.07%
|  | BPO | 0.33811 | 1.1306 |  |  |  |  | 3.4292 |  |  |  | 0.69616 | 0.343 | 0.0046144 | -0.011289 | 5.9417 | 72.7% | 5.9304 | 72.88% | 0.004661 | 57.52%
|  | 2DS |  | 1.7746 |  |  |  |  | 3.1348 |  |  |  | 0.69616 | 0.343 |  | -0.018165 | 5.9486 | 67.6% | 5.9304 | 67.8% |  | 57.38%
| 2030 | 4DS | 0.33689 | 0.0030199 |  |  |  |  | 4.3868 |  |  |  | 0.69616 | 0.46278 | 0.0084455 | -0.0091939 | 5.894 | 90.73% | 5.8849 | 90.95% | 0.0085308 | 53.35%
|  | BPO | 0.33324 | 0.0027249 |  |  |  |  | 4.3331 |  |  |  | 0.69616 | 0.46278 | 0.060195 | -0.0090337 | 5.8882 | 89.9% | 5.8791 | 90.57% | 0.060803 | 51.16%
|  | 2DS |  | 0.45076 |  |  |  |  | 4.2192 |  |  |  | 0.69616 | 0.46278 | 0.056443 | -0.0062204 | 5.8854 | 88.06% | 5.8791 | 88.64% | 0.057013 | 50.75%
| 2040 | 4DS |  | 0.00086127 |  |  |  |  | 4.2518 |  |  |  | 0.69616 | 0.49 | 0.070913 | -0.0057371 | 5.5097 | 94.94% | 5.504 | 95.89% | 0.071629 | 65.39%
|  | BPO |  | 0.0037771 |  |  |  |  | 4.6788 |  |  |  | 0.69616 | 0.49 | 0.069291 | -0.0053851 | 5.9381 | 95.29% | 5.9327 | 96.1% | 0.069991 | 61.22%
|  | 2DS |  | 0.00020694 |  |  |  |  | 4.353 |  |  |  | 0.69616 | 0.48315 | 0.077635 | -0.014838 | 5.6101 | 94.82% | 5.5953 | 96.18% | 0.078419 | 79.6%
| 2050 | 4DS | [6 empty] | 2.7851 |  |  |  | 0.69616 | 0.49272 | 0.98633 | -0.015746 | 4.9603 | 88.54% | 4.9446 | 93.46% | 0.35228 | 65.29%
|  | BPO |  | 0.0038798 |  |  |  |  | 3.7657 |  |  |  | 0.69616 | 0.49272 | 1.4453 | -0.020145 | 6.4038 | 89.47% | 6.3836 | 94.05% | 0.45021 | 61.04%
|  | 2DS | [6 empty] | 3.5892 |  |  |  | 0.69616 | 0.48503 | 1.2398 | -0.026442 | 6.0102 | 88.93% | 5.9838 | 94.5% | 0.44271 | 70.28%
Estonia | 2020 | 4DS |  | 0.91757 |  | 0.67035 |  | 0.13444 | 1.9457 |  | 0.5964 |  | 0.023108 | 0.75104 |  | -0.025339 | 5.0386 | 59.41% | 5.0133 | 59.71% |  | 20.23%
|  | BPO |  | 0.91176 |  | 0.66817 |  | 0.13419 | 1.9383 |  | 0.59511 |  | 0.02305 | 0.75104 |  | -0.025488 | 5.0216 | 59.43% | 4.9961 | 59.73% |  | 20.13%
|  | 2DS |  | 0.90925 |  | 0.66723 |  | 0.1341 | 1.9351 |  | 0.59446 |  | 0.023021 | 0.75104 |  | -0.025464 | 5.0142 | 59.44% | 4.9887 | 59.74% |  | 20.08%
| 2025 | 4DS |  | 0.87858 | 0.00095891 | 0.58746 |  | 0.0014004 | 1.9353 |  | 0.58313 | 0.028589 | 0.02645 | 0.76329 |  | -0.030297 | 4.8051 | 62.53% | 4.7748 | 62.93% |  | 19.18%
|  | BPO |  | 0.91718 |  | 0.54601 |  | 0.0012761 | 1.9791 |  | 0.61324 | 0.10345 | 0.025826 | 0.76329 |  | -0.048528 | 4.9494 | 63.47% | 4.9008 | 64.09% |  | 38.65%
|  | 2DS |  | 0.93531 | 0.0009471 | 0.44195 |  | 0.0064072 | 1.9246 |  | 0.58338 | 0.073154 | 0.02573 | 0.76329 |  | -0.038696 | 4.7547 | 63.78% | 4.716 | 64.3% |  | 37.85%
| 2030 | 4DS |  | 0.57118 | 0.00047636 | 0.53725 |  | 0.00010862 | 1.8383 |  | 0.57185 | 0.026398 | 0.026506 | 0.77554 | 0.21358 | -0.024776 | 4.5612 | 66.15% | 4.5364 | 67.45% | 0.10044 | 42.5%
|  | BPO |  | 0.27161 |  | 0.50069 |  | 0.00011506 | 1.9125 | 0.22426 | 0.60973 | 0.39845 | 0.026184 | 0.77554 | 0.14354 | -0.05711 | 4.8627 | 75.21% | 4.8056 | 76.86% | 0.072342 | 52.01%
|  | 2DS |  | 0.52748 | 0.00046659 | 0.34009 |  | 0.00010639 | 1.845 | 0.018935 | 0.56615 | 0.3048 | 0.026015 | 0.77554 | 0.066823 | -0.028014 | 4.4713 | 71.74% | 4.4433 | 72.85% | 0.05753 | 51.4%
| 2040 | 4DS |  | 0.34864 |  | 0.33283 |  |  | 1.206 | 0.060646 | 0.52171 | 0.56263 | 0.015868 | 0.66694 | 0.2619 | -0.037761 | 3.9772 | 71.49% | 3.9394 | 74% | 0.15192 | 47.94%
|  | BPO |  | 0.23437 |  | 0.36525 |  |  | 1.3449 | 0.31562 | 0.55946 | 0.64279 | 0.015872 | 0.66694 | 0.23776 | -0.034533 | 4.383 | 76.39% | 4.3484 | 78.62% | 0.13548 | 52.81%
|  | 2DS |  | 0.17541 |  | 0.07244 |  |  | 2.0362 | 0.027481 | 0.50745 | 0.27758 | 0.013654 | 0.61056 | 0.084585 | -0.036817 | 3.8054 | 84.02% | 3.7686 | 86.37% | 0.078864 | 74.24%
| 2050 | 4DS |  | 0.098514 | 0.11604 |  |  |  | 0.76096 | 0.020147 |  | 0.44629 |  | 0.38928 | 1.7821 | -0.020219 | 3.6133 | 71.49% | 3.5931 | 79.54% | 0.64162 | 43.09%
|  | BPO |  | 0.16116 | 0.10552 |  |  |  | 0.87947 | 0.12263 |  | 0.169 |  | 0.38928 | 2.406 | -0.022634 | 4.2331 | 69.07% | 4.2104 | 80.18% | 0.86755 | 52.41%
|  | 2DS |  | 0.076521 | 0.053299 |  |  |  | 2.4308 | 0.014298 |  | 0.11547 |  | 0.36252 | 0.78598 | -0.023326 | 3.8389 | 80.81% | 3.8156 | 90.48% | 0.43952 | 80.17%
Baltic countries | 2020 | 4DS | 0.3077 | 3.2457 | 0 | 0.67035 | 0.41155 | 0.14247 | 11.1964 | 0 | 0.5964 | 0 | 0.73053 | 1.4736 | 0 | -0.060099 | 18.7747 | 71.11% | 18.7146 | 71.33% | 0 | 31.47%
|  | BPO | 0.30749 | 3.231 | 0 | 0.66817 | 0.41155 | 0.14218 | 11.1295 | 0 | 0.59511 | 0 | 0.73048 | 1.4736 | 0 | -0.060064 | 18.6891 | 71.07% | 18.629 | 71.3% | 0 | 31.43%
|  | 2DS | 0.30749 | 3.2262 | 0 | 0.66723 | 0.41155 | 0.14207 | 11.1116 | 0 | 0.59446 | 0 | 0.73046 | 1.4736 | 0 | -0.059901 | 18.6647 | 71.06% | 18.6048 | 71.29% | 0 | 31.4%
| 2025 | 4DS | 0.33865 | 2.5748 | 0.00095891 | 0.58746 | 0.41155 | 0.0014004 | 11.354 | 0 | 0.58313 | 0.028589 | 0.73474 | 1.6513 | 0 | -0.07383 | 18.2666 | 74.56% | 18.1928 | 74.86% | 0 | 30.03%
|  | BPO | 0.33811 | 2.5202 | 0 | 0.54601 | 0.41155 | 0.0012761 | 11.397 | 0 | 0.61324 | 0.10345 | 0.7341 | 1.6513 | 0.0046144 | -0.091591 | 18.3209 | 75.07% | 18.2293 | 75.45% | 0.004661 | 35.99%
|  | 2DS | 0 | 3.1119 | 0.0009471 | 0.44195 | 0.41155 | 0.0064072 | 10.9456 | 0 | 0.58338 | 0.073154 | 0.73424 | 1.6513 | 0 | -0.089325 | 17.9605 | 73.74% | 17.8712 | 74.11% | 0 | 35.79%
| 2030 | 4DS | 0.33689 | 1.512 | 0.00047636 | 0.53725 | 0.41155 | 0.00010862 | 8.0335 | 0 | 0.57185 | 0.10147 | 0.73196 | 1.8313 | 3.685 | -0.082494 | 17.7534 | 70.34% | 17.6709 | 73.65% | 1.659 | 31.95%
|  | BPO | 0.33324 | 0.85466 | 0 | 0.50069 | 0.41155 | 0.00011506 | 8.2661 | 0.22426 | 0.60973 | 2.7983 | 0.73391 | 1.8313 | 1.3721 | -0.10637 | 17.9359 | 79.98% | 17.8295 | 82.29% | 0.65532 | 50.23%
|  | 2DS | 0 | 1.5351 | 0.00046659 | 0.34009 | 0.41155 | 0.00010639 | 10.5013 | 0.018935 | 0.56615 | 1.1538 | 0.7311 | 1.8313 | 0.12327 | -0.075497 | 17.2131 | 81.33% | 17.1376 | 82.03% | 0.11454 | 51.27%
| 2040 | 4DS | 0 | 0.57891 | 0 | 0.33283 | 0.40635 | 0 | 6.9963 | 0.31713 | 0.52171 | 0.97637 | 0.71203 | 1.7998 | 2.9179 | -0.106 | 15.5593 | 77.32% | 15.4533 | 81.82% | 1.3903 | 44.46%
|  | BPO | 0 | 0.41146 | 0 | 0.36525 | 0.41155 | 0 | 7.398 | 0.58548 | 0.55946 | 3 | 0.71203 | 1.7998 | 1.0948 | -0.084803 | 16.3378 | 84.41% | 16.253 | 86.67% | 0.5495 | 54.09%
|  | 2DS | 0 | 0.31556 | 0 | 0.07244 | 0.41155 | 0 | 9.9171 | 0.22569 | 0.50745 | 1.2713 | 0.70981 | 1.7366 | 0.22393 | -0.11539 | 15.3914 | 88.09% | 15.276 | 89.88% | 0.21962 | 79.12%
| 2050 | 4DS | 0 | 0.20139 | 0.11604 | 0 | 0.36162 | 0 | 4.33 | 0.54905 | 0 | 0.70635 | 0.69616 | 1.8266 | 5.3888 | -0.10226 | 14.176 | 75.69% | 14.0738 | 83.61% | 1.9413 | 53.86%
|  | BPO | 0 | 0.26647 | 0.10552 | 0 | 0.33557 | 0 | 5.3966 | 0.70832 | 0 | 0.3085 | 0.69616 | 1.8266 | 6.5684 | -0.11061 | 16.2121 | 76.32% | 16.1015 | 85.45% | 2.2987 | 60.73%
|  | 2DS | 0 | 0.15937 | 0.053299 | 0 | 0.40045 | 0 | 9.496 | 0.20509 | 0 | 0.3046 | 0.69616 | 1.5922 | 2.7987 | -0.12234 | 15.7059 | 81.32% | 15.5836 | 90.79% | 1.5684 | 88.51%

## Additional results
Electricity prices in the modelled region in the 4DS, 2030 | Electricity price development for each of the Baltic countries for the 4DS, BPO and 2DS. | Transmission capacity in the modelled region in 2030 (exogenous)